## Slide 1: Data into insight: Teasing out how molecules behave
Or:
What I do on my summer vacations
Mike Shaw
Science Circle
March 7, 2020

## Slide 2: From the Smithsonian in 1997….
Not a modern day lab…

## Slide 3: An Abstract
  My current research involves the exploration of electron-transfer events on models of biologically - relevant molecules such as the heme-nitric-oxide complex. My students learn how to work with air- and moisture-sensitive materials so as to prepare target compounds, and then we have to gather data on these materials so as to be able to prove they are what we set out to make. Once we have the materials in hand, we can start doing experiments which probe the chemical consequences of electron transfer on these compounds. With examples from my research program, I'll show you how data we collect tells us about the quality of the materials, and how the data reveals the consequences of electron-transfer events involving these materials. I'll talk specifically about what we can learn from infrared spectroscopy, magnetic resonance, and an electrochemical technique called voltammetry.

## Slide 4: Our collaboration
Have been collaborating with Richter-Addo group at the University of Oklahoma for over 22 years
Have received PI (George) and co-PI (me) funding together from NSF for last 12 years.
Mutual visits of PI’s and students at least annually since 2001.
We acknowledge the generous support by NSF of this collaboration through the following grants:
NSF - CHE 0911537 , NSF - CHE 1213680, NSF - CHE 1566509, NSF – CHE 1900181

## Slide 5: Purpose of our research?
https://commons.wikimedia.org/wiki/File:Frost_azoto_smallsize.gif
The original uploader was Svante at Italian Wikipedia. / CC BY-SA (http://creativecommons.org/licenses/by-sa/3.0/)
Frost Diagram for Nitrogen
Y-axis is proportional to max useful work that can be done by a transformation via ΔG = - nFE
Transformations of nitrogen / oxygen / hydrogen compounds are very important for living processes.
Ultimately, N-atoms in biomolecules have to come from N2 by N2-fixation, or generation of NOx from lightning or other high energy processes.
I’ve talked about N2-fixation previously, but “denitrification” is also important
NO3–  NO2–  NO  N2O  N2
Notes: Nitrogen cycle is well understood, but synthetic models of compounds which convert NO to N2O are scarce. This represents a huge missed opportunity to tease out some of the details of such reactions that may not be apparent from in-vivo systems.

## Slide 6: Purpose of our research?
https://commons.wikimedia.org/wiki/File:Frost_azoto_smallsize.gif
The original uploader was Svante at Italian Wikipedia. / CC BY-SA (http://creativecommons.org/licenses/by-sa/3.0/)
Frost Diagram for Nitrogen
Y-axis is proportional to max useful work that can be done by a transformation via ΔG = - nFE
Transformations of nitrogen / oxygen / hydrogen compounds are very important for living processes.
Ultimately, N-atoms in biomolecules have to come from N2 by N2-fixation, or generation of NOx from lightning or other high energy processes.
I’ve talked about N2-fixation previously, but “denitrification” is also important
NO3–  NO2–  NO  N2O  N2
All steps are known to be mediated biochemically by various “reductase enzymes”
Notes: Nitrogen cycle is well understood, but synthetic models of compounds which convert NO to N2O are scarce. This represents a huge missed opportunity to tease out some of the details of such reactions that may not be apparent from in-vivo systems.

## Slide 7: Purpose of our research?
https://commons.wikimedia.org/wiki/File:Frost_azoto_smallsize.gif
The original uploader was Svante at Italian Wikipedia. / CC BY-SA (http://creativecommons.org/licenses/by-sa/3.0/)
Frost Diagram for Nitrogen
Y-axis is proportional to max useful work that can be done by a transformation via ΔG = - nFE
Transformations of nitrogen / oxygen / hydrogen compounds are very important for living processes.
Ultimately, N-atoms in biomolecules have to come from N2 by N2-fixation, or generation of NOx from lightning or other high energy processes.
I’ve talked about N2-fixation previously, but “denitrification” is also important
NO3–  NO2–  NO  N2O  N2
Our current focus!
NSF – CHE 1900181
Notes: Nitrogen cycle is well understood, but synthetic models of compounds which convert NO to N2O are scarce. This represents a huge missed opportunity to tease out some of the details of such reactions that may not be apparent from in-vivo systems.

## Slide 8: N2O?
A greenhouse gas, 300x more “insulating” than CO2.
3rd in emissions after CO2 and CH4 much of which is from bio-sources.
Made biochemically with heme-enzymes
Total Emissions in 2017 = 6,457 Million Metric Tons of CO2 equivalent. Percentages may not add up to 100% due to independent rounding.
EPA, U.S. Greenhouse Gas Inventory Report, Environmental Protection Agency. Agency, E. P., Ed. https://www.epa.gov/ghgemissions/overview-greenhouse-gases, 2019.
Image credit: Dr. George Richter-Addo
Notes: https://www.epa.gov/ghgemissions/overview-greenhouse-gases

## Slide 9: Bacterial NO reductase
Has a heme-Fe site AND a non-heme Fe-site
They act cooperatively to couple 2 molecules of NO and 2H+, with 2 electrons.
2NO + 2H+ + 2e–  N2O + H2O
RCSB Protein Data Base Structure 3o0R
https://www.rcsb.org/structure/3o0r
Membrane-bound region

## Slide 10: Heme -NO
This is an oxygenase enzyme, but with an NO bound to the heme.
There is a “pocket” for the heme and a channel for the gas (usually O2) to come in.
Crystal Structure of Rat Heme Oxygenase-1-Heme Bound to NO from RSCB-PDB
http://www.rcsb.org/3d-view/1J02/1

## Slide 11: Partition of work…
Ph.D. students at OU primarily do synthesis of inorganic models of porphyrin species, and study biological heme species in actual enzymes such as hemoglobin and myoglobin with an emphasis on structural work and redox studies
My undergraduate and M.S. students have been looking at non-heme species most recently. Focused on consequences of electron-transfer events through electro-analytical chem methods.
Both groups look at ruthenium and iron

## Slide 12: In a nutshell… my approach is to use the development of research skills as teaching moments
Synthesis
  Prepare specific target compounds to further the goals of the collaboration
  Air- and moisture sensitive materials require vacuum lines, dryboxes, a lot of special glassware and care.
Characterization
  We use spectroscopic and X-Ray diffraction methods to figure out if what we set out to make is actually what we made.
  NMR, IR, Single crystal studies
Investigation
  Use electrochemistry and spectroelectrochemistry to find the consequences of electron-transfer

## Slide 13: This is from my hot water heater, not my lab… We have to teach and promote a culture of safety!

## Slide 14: Synthesis

## Slide 15: Making NO
NaNO2(aq)
+ H2SO4(aq)
+ Fe(NH4)2(SO4)2 (aq)

NO(g) + H2O
+ Fe3+(aq)
+Na+(aq) + NH4+(aq)
3SO42–(aq)
Net ionic Eqn: 2H+(aq) + e– + NO2–(aq)  NO(g) + H2O(l)

## Slide 16: A Drybox

## Slide 17: Double manifold vacuum line with Schlenk Tubes
From GRA’s lab

## Slide 18: The old Shaw lab…

## Slide 19: New lab 2013

## Slide 21
2660 acre campus!

## Slide 22: Characterization. “Prove you have the stuff you say you have.”
Main techniques…
  Multinuclear Fourier Transform Nuclear Magnetic Resonance Spectrometry (FT-NMR)
  Fourier Transform Infrared Spectrometry (FTIR)
Guest starring
  Ultra-violet-Visible-Near-IR spectrometry (UV-VIS-NIR)
  Raman Spectrometry
  Single Crystal X-Ray diffraction (courtesy of collaboration with OU)
Occasionally:
  Mass spectrometric techniques (LC-ESI-MS, typically)

## Slide 23
Public domain image from https://commons.wikimedia.org/wiki/File:Simple_Periodic_Table_Chart-en.svg
Ru: similar chemistry to Fe, less chance of unpaired electrons facilitates analysis by NMR
Let’s chat about NMR a bit….

## Slide 24: Nuclear Magnetic Resonance (NMR) Spectrometry
Same phenomenon gives us Magnetic Resonance Imaging (MRI)
I thought I would focus on this method today and gloss over some of the other methods… at least for today.
There are 3 take-home messages:
  The position of a peak on the x-axis tells you about the electronic environment / bonding
  The areas under the peaks are in the same ratios as the relative number of nuclei present.
  How the peaks are split into patterns tells you about nearby NMR-active nuclei
With these ideas, you can infer A LOT about the structure of a molecule.

## Slide 25: FT-NMR collects data about all frequencies in a given range simultaneously
We can collect data on 1H, 13C, 19F, 31P, 29Si among many others.
Some of these nuclei are high abundance, some are relatively low… there are different strategies used for the latter
Each nuclei is like a radio station that transmits on a specific narrow band of frequencies, if it is placed in a magnetic field
https://commons.wikimedia.org/wiki/File:PSM_V13_D058_Sound_waves_1.jpg
Public domain in the U.S.A.
https://archive.org/details/JanOfSound-PublicDomainTibetanMeditationBell503
Public domain in the U.S.A.
Notes: https://archive.org/details/JanOfSound-PublicDomainTibetanMeditationBell503
https://commons.wikimedia.org/wiki/File:PSM_V13_D058_Sound_waves_1.jpg

## Slide 26: FID of Ru(t-Bu4saloph)(NO)Cl
A related molecule…

## Slide 27: FT-NMR Demo
Signals from sample get systematically tested to see what frequencies they contain.
Yannick J. Esvan, Wael Zeinyeh “Basics of Fourier Transform Applied to NMR Spectroscopy: An Interactive Open-Source Web Application” J. Chem. Educ. 2020, 97,263-264.
Notes: https://pubs.acs.org/doi/abs/10.1021/acs.jchemed.9b00502
https://ftnmr.eu.pythonanywhere.com/

## Slide 28: FT-NMR Demo
Data and a test sign wave are multiplied point-by-point.
In-phase peaks with same phase tend to give positive results.
Yannick J. Esvan, Wael Zeinyeh “Basics of Fourier Transform Applied to NMR Spectroscopy: An Interactive Open-Source Web Application” J. Chem. Educ. 2020, 97,263-264.

## Slide 29: FT-NMR Demo
Do same for a range of frequencies
Final spectrum, in this case has only 1 frequency, and only one peak.
Yannick J. Esvan, Wael Zeinyeh “Basics of Fourier Transform Applied to NMR Spectroscopy: An Interactive Open-Source Web Application” J. Chem. Educ. 2020, 97,263-264.

## Slide 30: FT-NMR Demo
Here we see more frequencies, and a more complicated “free-induction decay” or FID
Yannick J. Esvan, Wael Zeinyeh “Basics of Fourier Transform Applied to NMR Spectroscopy: An Interactive Open-Source Web Application” J. Chem. Educ. 2020, 97,263-264.

## Slide 31: Fast Fourier Transform for NMR
Beautiful demo at https://ftnmr.eu.pythonanywhere.com/
See supplemental doc at https://pubs.acs.org/doi/abs/10.1021/acs.jchemed.9b00502
NMR tells you:
  What electronic environment a given type of nucleus sees around it
  Relative numbers of nuclei in different environments
  How many NMR-active nuclei are nearby
Yannick J. Esvan, Wael Zeinyeh “Basics of Fourier Transform Applied to NMR Spectroscopy: An Interactive Open-Source Web Application” J. Chem. Educ. 2020, 97,263-264.
“take home messages!”
Notes: https://pubs.acs.org/doi/abs/10.1021/acs.jchemed.9b00502
https://ftnmr.eu.pythonanywhere.com/

## Slide 32: 1H NMR Spectrum of Ru(NO)(tBu4saloph)Cl in CDCl3 at 298K
Structure is not exactly same compound, but close
Notes: Structure is not the Saloph… but close enough. Our structural data… we repeated the crystal structure study, but structure was originally published by Leung et al in J. Chem. Soc. Dalton Trans., 1996,, 1229-1236.

## Slide 33: Typical values on X-axis are known…
From: https://chem.libretexts.org/Courses/University_of_Illinois%2C_Springfield/Introduction_to_Organic_Spectroscopy/5%3A_Proton_Nuclear_Magnetic_Resonance_Spectroscopy_(NMR)/5.12%3A_Chemical_Shifts_in_%5C(%5E1H%5C)_NMR__Spectroscopy
Shared under CC BY-NC-SA 3.0 US license. See https://creativecommons.org/licenses/by-nc-sa/3.0/us/

## Slide 34: Typical values on X-axis are known…
From: https://chem.libretexts.org/Courses/University_of_Illinois%2C_Springfield/Introduction_to_Organic_Spectroscopy/5%3A_Proton_Nuclear_Magnetic_Resonance_Spectroscopy_(NMR)/5.12%3A_Chemical_Shifts_in_%5C(%5E1H%5C)_NMR__Spectroscopy
Shared under CC BY-NC-SA 3.0 US license. See https://creativecommons.org/licenses/by-nc-sa/3.0/us/
Electron withdrawing groups
Atoms outside areas of e– density that can circulate as a reaction to magnetic field

## Slide 35: Areas under peaks are proportional to relative numbers of atoms present.
BTW: Good NMR data processing software here: https://home.cc.umanitoba.ca/~wolowiec/spinworks/
Image attribution: Ben Mills. Public Domain
https://en.m.wikipedia.org/wiki/File:Ethyl-formate-3D-balls.png

## Slide 36: Areas under peaks are proportional to relative numbers of atoms present.
BTW: Good NMR data processing software here: https://home.cc.umanitoba.ca/~wolowiec/spinworks/
Image attribution: Ben Mills. Public Domain
https://en.m.wikipedia.org/wiki/File:Ethyl-formate-3D-balls.png

## Slide 37
Splitting patterns come from local magnetic fields generated by nearby spinning nuclei

## Slide 39: Refills on Bruker 400 MHz NMR
Initial Liquid Helium Fill
Liquid nitrogen refill

## Slide 40: Some group pics
2012 Day at the Science Center

## Slide 41: Redox Properties!
Our favorite methods are “cyclic voltammetry” and “fiber-optic IR spectroelectrochemistry”
Good reference:
A Practical Beginner’s Guide to Cyclic Voltammetry
Noémie Elgrishi, Kelley J. Rountree, Brian D. McCarthy, Eric S. Rountree, Thomas T. Eisenhart, and Jillian L. Dempsey
Journal of Chemical Education 2018, 95, 197-206
DOI: 10.1021/acs.jchemed.7b00361
A + e–  B
So what do your molecules do?
Notes: https://chemistry.beloit.edu/classes/Chem220/cyclic/index.html
https://chemistry.beloit.edu/classes/Chem220/cyclic/kinetics.html

## Slide 42: CV Jargon
The Inspiration……….
Image credit, Kenneth W. Rodgers
Plot I vs E so as to get a single shape for the plots

## Slide 44: 1.1 mM Ru(salchy)(NO)Cl in 0.1M NBu4PF6/MeCN
68 mV slope consistent with EC mech with diffusion controlled follow-up reaction… sets kf1
reversible chloride-for-solvent metathesis
0.05 V/s
0.10 V/s
0.20 V/s
0.40 V/s
0.80 V/s
1.60 V/s
Slope of Epc vs log(ν) = -68 mV
“Ru-Cl”-
“Ru-MeCN”°
Ferrocene
Internal Standard
CV’s are normalized and corrected for Ru, Cdl
Slide from a conference… technical, sorry!

## Slide 45: 1.1 mM Ru(salchy)(NO)Cl in 0.1M NBu4PF6/MeCN
Same data, math transform
0.05 V/s
0.10 V/s
0.20 V/s
0.40 V/s
0.80 V/s
1.60 V/s
“Ru-Cl”-
“Ru-MeCN”°
Ferrocene
Internal Standard
CV’s are normalized and corrected for Ru, Cdl
then convolved and presented as derivative
Focus is on first reduction
Slide from a conference… technical, sorry!

## Slide 46: DigiElch Curve Fitting of Data
Fast loss of Cl-, but K is unfavorable
w/ Cl-
w/ Cl-
Experimental
Simulations
Slide from a conference… technical, sorry!

## Slide 47: Variable Temperature Spectroechem Cell

## Slide 48: Fiber-Optic Spectroelectrochemistry
BAS electrode
Waveguide / “dip’ probe
e.g. Remspec (mid-IR) or Ocean Optics (VIS, NIR)
Cell / solution

## Slide 49: IR-SEC
1200
2000
1800
1600
1400
1801 cm-1
ν(NO)
Wavenumber, cm-1
2 mM Ru(salchy)(NO)(Cl) in CD3CN / CsPF6
1st reduction
2nd reduction
1832 cm-1
ν(NO)
1633 cm-1
ν(C=N)
1605 cm-1
ν(C=N)
1551 cm-1
ν(C=N), ν(NO)
1517 cm-1
ν(HC=N)?
1319 cm-1
C-C-O*
1459, 1427 cm-1
In doubly reduced.
Consistent** with {MNO}8
[(TPP)Fe(NO)]- has ν(NO) at 1496 cm-1
Also 2 overlapping C=N… 1605 cm-1 has intensity decreasing + increasing from different bands
Also see in CsPF6/CH3CN:
1251, 1234
1169, 1157 cm-1
Wait? Both linear and bent NO’s?
μ-chloro-or μ-oxo mixed valent?
Still investigating.
*consistent with Bordini et al Inorg. Chem 2002, 41, 5410-5416
**Ling et al, J. Am. Chem. Soc. 2010, 132, 1583-1591 + refs therein.

## Slide 50: Reactions with H+ sources
1 mM RuCl in THF
H+ affects reversibility of 2nd wave.
1st wave not affected much.
Add 1 equiv CF3-C6H4-OH

## Slide 51: IR-SEC with proton sources
1814 cm-1
ν(NO)
1200
2000
1800
1600
1400
Wavenumber, cm-1
2 mM Ru(salchy)(NO)(Cl) in CD3CN / CsPF6
+ p-HO-C6H4-CF3
1st reduction
2nd reduction
1837 cm-1
ν(NO)
1630 cm-1
ν(C=N)
1589 cm-1
1506 cm-1
1526
1328 cm-1
Artifact
1717 cm-1
δ(OH)
1446
1307 cm-1
1st reduction + HO-C6H4CF3
2nd reduction + HO-C6H4CF3
2nd reduction + HO-C6H4CF3
+ 2 mM NBu4Cl
1250 cm-1
1225 cm-1
Myoglobin-HNO at 1385 cm-1 *
1379 cm-1
ν(HNO)?
*Ling et al, J. Am. Chem. Soc. 2010, 132, 1583-1591 + refs therein.

## Slide 52: Some conclusions…
We do a lot of different techniques!
  We make stuff
  We figure out what we have made
  We try to see what it does, with an eye to the consequences of electron-transfer reactions
Paying it forward: Funding in our environment provides opportunities for students to learn, which permits further funding for future students ☺

## Slide 53: Acknowledgements: X-Ray data and structures in SL
Crystallography Open Database. http://www.crystallography.net/cod/
RCSB Protein Data Bank https://www.rcsb.org/
Cambridge Crystallographic Database
  https://www.ccdc.cam.ac.uk/solutions/csd-system/components/csd/
  Have to have reference to get structure 
American Minerologist Crystal Structure Database
  http://rruff.geo.arizona.edu/AMS/amcsd.php
JMOL http://jmol.sourceforge.net/
Blender https://www.blender.org/
Unity https://unity3d.com/ (we are careful to use a single version)

## Slide 54: Acknowledgements
The Science Circle!
NSF – CHE 1900181
My research students
Dr. George Richter-Addo
SIUE Department of Chemistry
SIUE College of Arts and Sciences
SIUE Graduate School
All of you for your attention, and continued support of SC in SL

## Slide 55: Some pics of Missouri Botanical Garden in St. Louis
MoBot

## Slide 56
Image credit: Kenneth W. Rodgers
Tanks Again!